## Sheet2
Service Report for Calibration
Customer | : Asiatic Electrical & Switchgear Pvt.Ltd.
Address | : G-1058-59, RICO Industrial Area, Phase -3, Bhiwadi,
Rajasthan – 301019 (INDIA)
Instrument |  | : Autoscan Table | Sr. No. |  | : 5502.00.B001
Calibration date |  |  | Next Calibration due date
Calibrated by |  | :Ashok | Calibration report no. |  | CAL/AAK002
P.O. No. |  | : JW-19-20/116 | P.O. Date |  | 2019-09-03
As this Calibration is on chargeable basis Crest will send the invoice against this calibration to - M/s Asiatic Electrical & Switchgear Pvt.Ltd. at the earliest. Crest requested to release payment against this calibration work immediately after receipt of appropriate invoice.
Crest Remark : ________________________________________________________________________
____________________________________________________________________________________________________
____________________________________________________________________________________________________
Customer Remark : _____________________________________________________________________
____________________________________________________________________________________________________
____________________________________________________________________________________________________
Customer’s Sign. |  | : | Attended by | :
Name : ________________________ | : Mr. |  | Name
Designation : ________________________ | : |  | Designation
Date | : |  | Date | :

## Sheet3
Service Report
Customer | : Schneider Electric Infrastructure Limited.___________________________
Address | : Milestone 87, Vadodara Halol Highway, Village Kotambi Jarod , ______________________________________
___________Vadodara 391510____________________________________________________________
Instrument |  | : Endurance (RMU R&D) |  | Serviced At |  | : Vadodara Works
Sr. No. |  | : 5508.00.B001 |  | Chassis No. |  | :
Service Contract from |  | : 23/08/2019 |  | To |  | : 22/08/2020
Customer Order No. |  | : 1400143221 |  | Date |  | : 23/08/2019
Work done in service contract | [5 empty] | Visit
[6 empty] | 1st | 2nd
1) Functional testing of instrument
2) Opening & cleaning of instrument
3) Checking for any damage
4) Checking wiring, looms, & Firmness of connectors
5) Cleaning all connector with contact cleaner
6) Checking important power supply voltage
7) Checking internal earthing connections
8) Checking important isolations
9) Calibration of all channels
Remark : ____________________________________________________________________________
____________________________________________________________________________________________________
____________________________________________________________________________________________________
Customer’s Sign. |  |  | Attended by :
Name : ________________________ |  |  | Name : |  | Nilay Joshi
Designation : ________________________ |  |  | Designation : |  | Service Engineer
Date |  |  | Date : |  | /08/2019

## Sheet4
Service Report
Customer | : C&S Electric Ltd._____________________________________________
Address | : 26A, Sec-31,Surajpur Industrial Area, Kasna Road,___________________________
__________ Greater Noida,(UP) G.B.Nagar- 201306 _____________________________________________________________
Instrument |  | : Autoscan |  | Serviced At |  | : Noida, Works
Sr. No. |  | : 5501.00.V005 |  | Chassis No. |  | :
Service Contract from |  | : 03/07/2019 |  | To |  | : 31/03/2020
Customer Order No. |  | :20436500593 |  | Date |  | :03/07/2019
Work done in service contract |  |  |  |  | Visit
[5 empty] | 1st | 2nd | 3rd
1) Functional testing of instrument
2) Opening & cleaning of instrument
3) Checking for any damage
4) Checking wiring, looms, & Firmness of connectors
5) Cleaning all connector with contact cleaner
6) Checking important power supply voltage
7) Checking internal earthing connections
8) Checking important isolations
9) Calibration of all channels
Remark : __________________________________________________________________
____________________________________________________________________________________________________
____________________________________________________________________________________________________
Customer’s Sign. |  |  | Attended by :
Name : ________________________ |  |  | Name :
Designation : ________________________ |  |  | Designation : |  | Service Engineer .
Date |  |  | Date :