## Sheet1
CREST TEST SYSTEMS PVT LTD
25/5A/1/2, Near Unique controls, Nanded Phata, Sinhagad Road, Pune 411041
Enquiry Analysis
Sr. No. | Enquiry Questions | Customer Review | Crest Review
1 | Installation area in Sqmm
2 | Type of Floor where the system is installing
3 | If this area is outdoor/indoor
4 | If Outdoor then, is fencing required?
5 | provide a fencing diamentions
6 | what typeof door required?
7 | quantity of doors
8 | type of lock required for fencing door
9 | Is there separate earthpit required for this system
10 | If yes, provide the distance from the system to earthpit
11 | Is fencing required for the control panels
12 | What type of input supply required?(Single Phase/ Three Phase)
13 | Maximum Voltage rating of VCB
14 | Provide HV Test procedure OF VCB
15 | Is there provision for input supply?
16 | If yes, Provide the distance from the system
17 | Is there any etra extention board required on system?
18 | if yes, provide the details like, 3Ph/1Ph and quantity
19 | interlock with the door is rewuired/
20 | if yes, mention the details and condition od the interlocks.
21 | mention the length of test lead set.
22 | is VCB trolly available?
23